LEED 2009 – EQc9 for Schools, LEEDv4 – Acoustic Performance

Requirements LEED 2009 (BD+C for Schools)

Sound transmission

Design classrooms and other core learning spaces to meet the Sound Transmission Class (STC) requirements of ANSI Standard S12.60-2002, Acoustical Performance Criteria, Design Requirements and Guidelines for Schools, except windows, which must meet an STC rating of at least 35. Projects outside the U.S. may use a local equivalent to ANSI Standard S12.60-2002.

AND

Background noise

Reduce background noise level to 40 dBA or less from heating, ventilating and air conditioning (HVAC) systems in classrooms and other core learning spaces.

Requirements LEED v4:

HVAC background noise

Achieve a background noise level of 35 dBA or less from heating ventilating, and air-conditioning (HVAC) systems in classrooms and other core learning spaces. Follow the recommended methodologies and best practices for mechanical system noise control in ANSI Standard S12.60-2002, Part 1, Annex B; the 2011 HVAC Applications ASHRAE Handbook, Chapter 48, Sound and Vibration Control, with errata; AHRI Standard 885-2008; or a local.

Sound transmission

Design classrooms and other core learning spaces to meet the sound transmission class I(STC) requirements of ANSI S12.60-2010 Part 1, or a local equivalent. Exterior windows must have an STC rating of at least 35, unless outdoor and indoor noise levels can be verified to justify a lower rating.

Below are two tables from ANSI Standard S12.60-2002 which show the minimum STC ratings required for this credit.

|  |  |
| --- | --- |
| Adjacent Space Type | Minimum STC Rating |
| Other Classrooms | 50 |
| Outdoors | 50 |
| Bathrooms | 53 |
| Corridor | 45 |
| Offices, Conference Rooms | 45 |
| Music Rooms | 60 |
| Mechanical Equipment Rooms | 60 |
| Cafeteria, Gym, Natatorium | 60 |

Table 1. STC Requirements for Core classroom Assemblies from ANSI Standard S12.60-2002

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Receiving Ancillary Learning Space | Corridor, Staircase, Common Use and Public Use Toilet and Bathing Room | Music Room | Office or Conference Room | Outdoors | Mechanical Equipment Room, Cafeteria, Gymnasium or Indoor Swimming Pool |
| Corridor | 45 | 60 | 45 | 45 | 55 |
| Music room | 60 | 60 | 60 | 45 | 60 |
| Office or Conference Room | 45 | 60 | 45 | 45 | 60 |

TTable 2. Minimum STC ratings recommended for single or composite wall, floor-ceiling and roof-ceiling assemblies separating an ancillary space from an adjacent space from an adjacent space from ANSI Standard S12.60-2002

Other requirements:

1. Entry doors into classrooms and other core learning spaces: STC 30

Definitions:

Sound Transmission Class (STC): is a single number rating for the acoustic attenuation (reduction) of airborne sound passing through a partition or any other building element such as a wall, roof or door as measured in an acoustical testing laboratory following accepted industry practice. A higher STC rating provides more sound attenuation through a partition.

Rw Values: Rw describes the airborne sound insulating power of a building element. It is a laboratory measured value. It can apply to walls, ceilings/floors, ceiling/roofs, doors and windows. The higher the number, the greater the sound insulating power of the building element. For example, an increase in the Rw of a wall by 10 points will reduce the perceived loudness of sound passing through the wall by about half. It generally varies from STC values by less than 1% due to a different frequency range that is used during testing.

Avanti Products Contribution:

|  |  |
| --- | --- |
| Type of Glazing | Rw (dB) Values |
| Single Glazed 3/8” (10mm) CTF | 35 |
| Single Glazed 1/2" (12mm) CTF | 35 |
| Double Glazed 3/8” (10mm) CTF | 42 |
| Double Glazed 3/8” (10mm) CTF/ 3/8” (10.8mm) Laminated | 45 |
| Double Glazed 1/2" (12mm) CTF/ 3/8” (10.8mm) Laminated | 47 |
| Twin Glazed 3/8” (10mm) CTF/ 3/8” (10mm) CTF with 5” (112mm) Air Cap | 49 |
| Twin Glazed 1/2” (12mm) CTF/ 1/2” CTF with 5” (112 mm) Air Cap | 49 |

Table 3. Rw values for Avanti Products

We consulted with an outside acoustical authority on the compatibility of Rw and STC values to confirm that they are very similar.

Qualifying Glazing for spaces

The grey highlighted glazings in Table 3 meet the grey highlighted space types in Table 1 and 2. The glazings include:

* Double Glazed Laminated finishes
* Twin Glazed finishes

The space types include:

* For spaces adjacent to classrooms (Table 1)
  + Corridors
  + Offices
  + Conference Rooms
* For ancillary classrooms which have adjacent spaces (Table 2)
  + Corridors adjacent to (corridors, conference rooms, outdoors)
  + Music Rooms adjacent to (outdoors)
  + Office or Conference Room adjacent to (corridor, office, or outdoors)

All finishes qualify for entry doors into classrooms. This applies to Avanti’s pivot frameless glass swing doors and the sliding glass doors

Conclusion:

For the sound transmission portion of EQc9, in some applications, Avanti products will help a project qualify for this LEED credit. Grey highlighted in Tables 1 and 2 are all the space descriptions that some of Avanti’s glazings qualify for (grey highlighted in Table 3). Avanti’s products will help reduce HVAC noise in learning spaces, helping projects qualify for the background noise portion of EQc9. Any HVAC noise located outside a classroom utilizing Avanti double or twin glazed products will be reduced to below the 40dBA requirement. Beyond LEED, Avanti products focus on reducing sound transmission and not sound absorption and thus marketing should be geared towards this aspect. Sound absorption will be difficult for any glass product as it will tend to be a much better reflector than absorber (part of glass properties).